## UW PRCS
Permit Required Confined Space List
CS# | Campus | FACNUM | Building | Room Number , Description or Locating Details | Hazards | Comments | Evaluation Date | Permit Required
UWAP001 | All | Various | Various | Sewer manholes | Atmospheric; Engulfment |  | 2005-05-16 | YES
UWBP001 | Bothell | Various | Various | Communications vaults | Atmospheric; Electrical |  | 2012-08-03 | YES
UWBP002 | Bothell | 3997 | UW1 | Double Check Valve Vault, UW1, near loading dock on Lower Campus Rd. | Atmospheric; Engulfment |  | 2013-07-09 | YES
UWBP003 | Bothell |  |  | Water Meter Valve Vault | Atmospheric; Engulfment |  | 2012-08-03 | YES
UWBP004 | Bothell |  |  | Coelescent Filter Vault | Atmospheric; Engulfment |  | 2012-08-03 | YES
UWBP005 | Bothell | X120 | NORTH PARKING GARAGE | Oil Separator Vault in North Parking Garage | Atmospheric; Engulfment |  | 2013-07-09 | YES
UWBP006 | Bothell |  |  | Irrigation Well Pump Vault in wetlands area of campus | Atmospheric; Mechanical; Electrical; Engulfment |  | 2012-08-03 | YES
UWBP007 | Bothell | 4039 | UW2 | Double Check Valve Vault, UW2, near loading dock on 180th St. | Atmospheric; Engulfment |  | 2013-07-09 | YES
UWBP008 | Bothell | 3998 | LB1 | Double Check Valve Vault, SW corner of LB1 near Subway | Atmospheric; Engulfment |  | 2013-07-09 | YES
UWBP009 | Bothell | 4054 | LB2 | Double Check Valve Vault, Sidewalk outside LB2 near Campus Safety and Campus Way | Atmospheric; Engulfment |  | 2013-07-09 | YES
UWBP010 | Bothell | 3995 | CC1 | Double Check Valve Vault, on East side between CC1 and CC2 just off Campus Way NE near crosswalk to SW corner of the North Parking Garage | Atmospheric; Engulfment |  | 2013-07-09 | YES
UWBP011 | Bothell | 4016 | PHYSICAL PLANT BUILDING | Double Check Valve Vault, NW of South Parking Garage in grassy area | Atmospheric; Engulfment |  | 2013-07-09 | YES
UWBP012 | Bothell |  | CONSERVATORY | Double Check Valve Vault, near intersection of 110th Ave NE and Beardslee Blvd on Right side of sidewalk | Atmospheric; Engulfment |  | 2013-07-09 | YES
UWBP013 | Bothell | X121 | SOUTH PARKING GARAGE | Oil Separator Vault in South Parking Garage | Atmospheric; Engulfment |  | 2013-07-09 | YES
UWPP001 | Pack Forest |  | MCBRIDE HALL | Septic lift station near parking lot | Atmospheric; Electrical; Engulfment | 2 impellers for septic system; steel lid | 2014-04-14 | YES
UWPP002 | Pack Forest |  | SHOP PARKING LOT | (2) 15,000 Gallon Water Tanks Next to parking lot by shop | Atmospheric; Engulfment | Bolted hatches | 2014-04-14 | YES
UWPP003 | Pack Forest |  | HILL ABOVE CAMP | Water tower; 50,000 gallons | Atmospheric; Engulfment | Bolted hatches | 2014-04-14 | YES
UWSP001 | Seattle | 1351 | ANDERSON HALL | Utility tunnel, via mechanical room or hatch in room 22 | Atmospheric: Sewer gas from drains |  | Unknown | YES
UWSP002 | Seattle | 1180 | ARCHITECTURE HALL | Attic over auditorium, via roof access | Fall: Floor serves as ceiling for room below | Entire space is permit required, regardless of where worker is because of the risk of falling off of catwalks. | 2005-05-19 | YES
UWSP003 | Seattle | 1180 | ARCHITECTURE HALL | Attic over and accessed by hatch off stairway | Fall: Floor serves as suspended ceiling for room below | ACCESS IS BY CRAWLING. -- | 2005-05-19 | YES
UWSP004 | Seattle | 1180 | ARCHITECTURE HALL | Pipe chase under floor, outside rooms 32 and 51, in room 13 | Atmospheric: Stagnant water |  | 2005-05-19 | YES
UWSP005 | Seattle | 4055 | CHAFFEY BASEBALL FIELD | East of Walla Walla Rd. | Atmospheric: Oxygen deficiency; Electrical | 15 ft deep | 2014-02-11 | YES
UWSP006 | Seattle | 1326 | BOTANY GREENHOUSE | Electrical vault by Stevens Way | Atmospheric: Toxicity; Electrical |  | 2005-06-22 | YES
UWSP007 | Seattle | 1187 | CANOE HOUSE | Two electrical vaults north of Canoe House in grass | Atmospheric: Oxygen deficiency; Electrical |  | 2005-06-13 | YES
UWSP008 | Seattle | 1187 | CANOE HOUSE | Electrical vault outside Canoe House's west side | Atmospheric: Oxygen deficiency |  | 2005-06-13 | YES
UWSP009 | Seattle | 1279 | CHEMISTRY LIBRARY BUILDING | Manhole access to saltwater tank valves at grassy knoll near SW side of Chemistry Library | Atmospheric: Oxygen deficiency; Engulfment; Entrapment; Fall: 18 feet |  | 2005-05-19 | YES
UWSP010 | Seattle | 1008 | ELECTRICAL ENGINEERING BUILDING | Lift station 56, Electrical Engineering Building room B-056 | Atmospheric: Sewer gas; Engulfment: Sewage; Entrapment; Mechanical: Pump; Electrical: Pump Electrical Service |  | 2005-06-21 | YES
UWSP011 | Seattle | 1008 | ELECTRICAL ENGINEERING BUILDING | Lift station 5B, Accessed from Electrical Engineering Building stair 9 | Atmospheric: Sewer gas; Engulfment: Sewage; Entrapment; Mechanical: Pump; Electrical: Pump Electrical Service |  | 2005-06-21 | YES
UWSP012 | Seattle | 4037 | GOLF DRIVING RANGE SEWER LIFT STATION | Lift station at Golf Driving Range, off of Clark Road | Atmospheric: Sewer gas; Engulfment: Sewage; Entrapment; Mechanical: Pump; Electrical: Pump Electrical Service |  | 2014-02-11 | YES
UWSP013 | Seattle | 1149 | GRAVES HALL, 3910 MONTLAKE BLVD NE | Electrical vault, east side of Graves Hall | Atmospheric: Oxygen deficiency; Electrical |  | 2005-06-13 | YES
UWSP014 | Seattle | 1204 | HANSEE HALL | Old transformer vault facing Hansee Hall main entrance, right corner in bushes | Atmospheric: Oxygen deficiency | No longer used. If lid were to rust away, would create fall hazard. Facilities Services recommend filling with dirt. Needs to be surveyed by EH&S. | 2005-06-22 | YES
UWSP015 | Seattle | 1186 | HARRIS HYDRAULICS LABORATORY | Crawlspaces under floor of Harris Hydraulics rooms 101, 103 and 106 on south end | Atmospheric: Oxygen deficiency; Mechanical: Equipment on track; Electrical |  | 2005-04-12 | YES
UWSP016 | Seattle | 1186 | HARRIS HYDRAULICS LABORATORY | Hydraulic head tank, Harris Hydraulics room 101 | Atmospheric: Oxygen deficiency; Engulfment: water; Entrapment |  | 2005-04-12 | YES
UWSP017 | Seattle | 1186 | HARRIS HYDRAULICS LABORATORY | Hydraulic tank in room 106 | Atmospheric: Oxygen deficiency; Engulfment: water; Entrapment |  | 2005-04-12 | YES
UWSP018 | Seattle | 1186 | HARRIS HYDRAULICS LABORATORY | Wet well for lake water in room 106 | Atmospheric: Oxygen deficiency; Engulfment: water; Entrapment | APPROXIMATELY 12' DEEP -- | 2005-04-12 | YES
UWSP019 | Seattle | 1324 | HITCHCOCK HALL | Condensate wet well, in basement mechanical room | Atmospheric: Oxygen deficiency; Engulfment: water; Entrapment; Mechanical: Pumps; Thermal: Hot water |  | 2005-06-14 | YES
UWSP020 | Seattle | 1324 | HITCHCOCK HALL | Floor drain wet well, in basement mechanical room | Atmospheric: Oxygen deficiency; Engulfment: water; Entrapment; Mechanical: Pumps |  | 2005-06-14 | YES
UWSP021 | Seattle | 3950 | INDOOR PRACTICE FACILITY | Communications vault at SW corner of Indoor Practice Facility | Atmospheric: Oxygen deficiency; Electrical |  | 2005-06-13 | YES
UWSP022 | Seattle | 1137 | INTRAMURAL ACTIVITIES BUILDING | Vault in E-9 Parking Lot near E-9 Lift Station | Atmospheric: Oxygen deficiency |  | Unknown | YES
UWSP023 | Seattle | 1137 | INTRAMURAL ACTIVITIES BUILDING | Communications vault East side of Walla Walla Rd. | Atmospheric: Oxygen deficiency; Electrical | APPROXIMATELY 4' DEEP. -- | 2005-06-03 | YES
UWSP024 | Seattle | 1137 | INTRAMURAL ACTIVITIES BUILDING | Electrical vault, outside of West side of IMA Building at the North end of building | Atmospheric: Oxygen deficiency; Entrapment |  | 2005-06-03 | YES
UWSP025 | Seattle | 1137 | INTRAMURAL ACTIVITIES BUILDING | Electrical vault, east side of Walla Walla Rd. | Atmospheric: Oxygen deficiency; Electrical |  | Unknown | YES
UWSP026 | Seattle | 1137 | INTRAMURAL ACTIVITIES BUILDING | Seattle City lighting vault, by IMA Tennis Courts | Atmospheric: Oxygen deficiency | Not accessed by UW personnel. | 2005-06-13 | YES
UWSP027 | Seattle | 1190 | JOHNSON ANNEX A | Communications vault outisde room 110 | Atmospheric: Oxygen deficiency; Electrical |  | 2005-06-22 | YES
UWSP028 | Seattle | 1177 | LEWIS HALL | Electrical vault near antenna | Engulfment: Water; Entrapment; Electrical |  | 2005-06-22 | YES
UWSP029 | Seattle | 3923 | LIFT STATION AT BOAT STREET | Lift station (wet and dry sides), south side of Boat St. | Atmospheric: Sewer gas; Engulfment: Sewage |  | 2005-05-16 | YES
UWSP030 | Seattle | 3916 | LIFT STATION AT COLUMBIA ROAD | Lift station (dry side), under sidewalk on South side of Columbia Way near HSB I-Wing | Fall; Nearby vehicle/pedestrian traffic |  | 2005-04-12 | YES
UWSP031 | Seattle | 3916 | LIFT STATION AT COLUMBIA ROAD | Lift station (wet side), under sidewalk on South side of Columbia Way near HSB I-Wing | Atmospheric: Sewer gas; Engulfment: Sewage; Nearby vehicle/pedestrian traffic |  | 2005-04-12 | YES
UWSP032 | Seattle | 3917 | LIFT STATION AT DOUGLAS RESEARCH | Lift station (wet side), by E-16 Parking Lot | Atmospheric: Sewer gas; Engulfment: Sewage |  | 2014-02-11 | YES
UWSP033 | Seattle | 3918 | LIFT STATION AT GRAVES HALL | Lift station on Clark Road, near Graves Hall | Atmospheric: Sewer gas; Engulfment: Sewage; Entrapment |  | 2005-05-16 | YES
UWSP034 | Seattle | 3919 | LIFT STATION AT IMA TENNIS CTS | Lift station (dry side), in E-8 Parking Lot | Atmospheric: Sewer gas; Entrapment; Fall: 25 feet | PROJECT SCHEDULED TO MOVE PUMPS ABOVE GROUND. -- WILL REMOVE FROM LIST AFTER COMPLETION. -- | 2014-02-11 | YES
UWSP035 | Seattle | 3919 | LIFT STATION AT IMA TENNIS CTS | Lift station (wet side), in E-8 Parking Lot | Atmospheric: Sewer gas; Engulfment: Sewage |  | 2014-02-11 | YES
UWSP037 | Seattle | 3920 | LIFT STATION AT SOUTH CAMPUS | Lift station (wet side), near South Campus Center North of San Juan Rd. | Atmospheric: Sewer gas; Engulfment: Sewage |  | 2014-02-12 | YES
UWSP038 | Seattle | 3921 | LIFT STATION AT HUSKY STADIUM | Lift station, near Husky Stadium's East side and the West side of the Women's Softball Field | Atmospheric: Sewer gas; Engulfment: Sewage; Electrical |  | 2014-02-11 | YES
UWSP039 | Seattle | 3922 | LIFT STATION AT WATERFRONT ACT | Lift station, near the Waterfront Activites Center in the E-12 Parking Lot | Atmospheric: Sewer gas; Engulfment: Sewage | 25 ft deep | 2014-02-11 | YES
UWSP040 | Seattle | 4395 | LIFT STATION OUTSIDE MAG H.S.C./J | Lift station (dry side), outside near NE corner of HSB-J-Wing | Atmospheric: Sewer gas (if fan not on) | THE DRY SIDE WILL BE PRCS -- UNTIL THE VENTILATION FAN IS CORRECTED TO RUN CONSTANTLY. -- | 2005-04-12 | YES
UWSP041 | Seattle | 4395 | LIFT STATION OUTSIDE MAG H.S.C./J | Lift station (wet side), outside near NE corner of HSB-J-Wing | Atmospheric: Sewer gas; Engulfment: Sewage; Fall |  | 2005-04-12 | YES
UWSP042 | Seattle | 1304 | MAGNUSON HEALTH SCIENCES CENTER B | Condensation pump in HSB, B-Wing, room B-020 | Engulfment: Water; Entrapment; Electrical; Mechanical; Thermal |  | 2005-06-07 | YES
UWSP043 | Seattle | 1304 | MAGNUSON HEALTH SCIENCES CENTER B | Floor drain wet well in HSB, B-Wing, room B-020 | Atmospheric: Oxygen deficiency; Engulfment: Water; Entrapment: Small access; Mechanical |  | 2005-06-07 | YES
UWSP044 | Seattle | 1304 | MAGNUSON HEALTH SCIENCES CENTER B | Vaccuum production tanks in HSB, B-Wing, room B-020 | Atmospheric: Oxygen deficiency; Engulfment; Entrapment; Biohazard |  | 2005-06-07 | YES
UWSP045 | Seattle | 1223 | MAGNUSON HEALTH SCIENCES CENTER BB | Fume hood exhaust collector in HSB, BB-Wing, near elevator mechanical room BB-1700 | Entrapment; Chemical |  | 2005-06-07 | YES
UWSP046 | Seattle | 1223 | MAGNUSON HEALTH SCIENCES CENTER BB | Four hot water tanks in HSB, BB-Wing at end of mechanical room BB-700 | Atmospheric: Oxygen deficiency; Engulfment; Entrapment; Thermal: Hot water | BBX07-04-10,BBX07-04-06,BBX07-04-02,BBX07-04-04 -- | 2005-06-07 | YES
UWSP047 | Seattle | 1223 | MAGNUSON HEALTH SCIENCES CENTER BB | Reverse osmosis water tanks in HSB, BB-Wing at West end of mechanical room BB-17 | Engulfment: Water; Entrapment |  | 2005-06-07 | YES
UWSP048 | Seattle | 1223 | MAGNUSON HEALTH SCIENCES CENTER BB | Condensate sump well in HSB, BB-Wing, room BB-010 | Atmospheric: Oxygen deficiency; Electrical; Thermal |  | 2007-01-19 | YES
UWSP049 | Seattle | 1223 | MAGNUSON HEALTH SCIENCES CENTER BB | Vaccuum tank reservoir in HSB, BB-Wing in mechanical room BB-1700 | Biohazard |  | 2005-06-07 | YES
UWSP050 | Seattle | 1328 | MAGNUSON HEALTH SCIENCES CENTER D | Condensate wet well in HSB, D-Wing room D-001 | Atmospheric: Oxygen deficiency; Engulfment: Water; Thermal: Steam and hot water | APPROXIMATELY 7' - 8' DEEP -- | 2005-06-09 | YES
UWSP051 | Seattle | 1328 | MAGNUSON HEALTH SCIENCES CENTER D | Floor drain sump in HSB, D-Wing room D-001 | Engulfment: Water; Thermal: Steam and hot water | APPROXIMATELY 8' DEEP. -- | 2005-06-07 | YES
UWSP052 | Seattle | 1328 | MAGNUSON HEALTH SCIENCES CENTER D | Vaccuum production tanks in HSB, D-Wing room D-001 | Atmospheric: Oxygen deficiency; Engulfment; Biohazard | Lock out and decontamination needed prior to entry. | 2005-06-07 | YES
UWSP053 | Seattle | 1328 | MAGNUSON HEALTH SCIENCES CENTER D | Vaccuum pump #1 in HSB, D-Wing, room D-001, BSX00-04-12, BSX00-04-11 | Mechanical; Biohazard |  | 2005-06-07 | YES
UWSP054 | Seattle | 1328 | MAGNUSON HEALTH SCIENCES CENTER D | Vaccuum pump #2 in HSB, D-Wing, room D-002, DSX00-04-13, DSX00-04-14,DSX00-04-15 | Mechanical: Fan blades; Biohazard |  | 2005-06-07 | YES
UWSP055 | Seattle | 1225 | MAGNUSON HEALTH SCIENCES CENTER E | Lift station in HSB, D-Wing, carpenter's storage room on -1 level | Atmospheric: Sewer gas; Engulfment: Sewage; Entrapment; Mechanical: Pumps; Electrical |  | 2005-06-14 | YES
UWSP056 | Seattle | 1226 | MAGNUSON HEALTH SCIENCES CENTER F | Fume hood exhaust collector in HSB, F-Wing, penthouse mechanical room F-600 | Atmospheric: Toxicity; Entrapment; Chemical |  | 2005-06-14 | YES
UWSP057 | Seattle | 1226 | MAGNUSON HEALTH SCIENCES CENTER F | Half space tunnels running East and West, accessed in HSB, F-Wing, mechanical room F-001 | Atmospheric: Sewer gas from drains |  | 2005-04-12 | YES
UWSP058 | Seattle | 1226 | MAGNUSON HEALTH SCIENCES CENTER F | Reverse osmosis water tanks in HSB, F-Wing, penthouse mechanical room F-600 | Engulfment: Water; Entrapment |  | 2005-06-15 | YES
UWSP059 | Seattle | 1226 | MAGNUSON HEALTH SCIENCES CENTER F | Wet well in basement of HSB, F-Wing room F-001B | Atmospheric: Oxygen deficiency; Engulfment: Water; Entrapment; Mechanical: Pump |  | 2005-06-15 | YES
UWSP060 | Seattle | 1228 | MAGNUSON HEALTH SCIENCES CENTER H | Condensate wet well in HSB, H-Wing near steam header | Atmospheric: Oxygen deficiency from steam displacement; Engulfment: Water; Entrapment; Thermal: Steam and hot water |  | 2005-06-14 | YES
UWSP061 | Seattle | 1228 | MAGNUSON HEALTH SCIENCES CENTER H | Floor drain wet well in HSB, H-Wing in the South -2 level mechanical room | Atmospheric: Oxygen deficiency; Engulfment: Water; Entrapment; Mechanical: Pumps |  | 2005-06-14 | YES
UWSP062 | Seattle | 1228 | MAGNUSON HEALTH SCIENCES CENTER H | Lift station in HSB, H-Wing in SW corner of -2 level mechanical room near fire main valves in floor | Atmospheric: Toxicity; Engulfment: Water; Entrapment; Mechanical: Pumps; Electrical |  | 2005-06-14 | YES
UWSP063 | Seattle | 1228 | MAGNUSON HEALTH SCIENCES CENTER H | Reverse osmosis water tanks in HSB, H-Wing in -2 level mechanical room | Engulfment: Water; Entrapment |  | 2005-06-14 | YES
UWSP064 | Seattle | 1174 | MAGNUSON HEALTH SCIENCES CENTER J | Condensate collector pit, IN HSB, J-Wing in North basement mechanical room behind steam header | Atmospheric: Oxygen deficiency; Engulfment: Water; Entrapment; Thermal: Hot water |  | 2005-06-14 | YES
UWSP065 | Seattle | 1174 | MAGNUSON HEALTH SCIENCES CENTER J | Floor drain wet well in HSB, J-Wing in North basement mechanical room | Atmospheric: Oxygen deficiency; Engulfment: Water; Entrapment; Mechanical: Pumps |  | 2005-06-14 | YES
UWSP066 | Seattle | 1174 | MAGNUSON HEALTH SCIENCES CENTER J | Reverse osmosis water tanks in HSB, J-Wing penthouse room J-700 | Engulfment: Water; Entrapment |  | 2005-06-14 | YES
UWSP067 | Seattle | 1175 | MAGNUSON HEALTH SCIENCES CENTER RR | Condensate hot well | Atmospheric: Oxygen deficiency; Engulfment: Water; Entrapment; Thermal: Hot water |  | 2005-06-07 | YES
UWSP068 | Seattle | 1175 | MAGNUSON HEALTH SCIENCES CENTER RR | Floor drain receiver in HSB, RR-Wing in South mechanical room | Atmospheric: Oxygen deficiency; Engulfment: Water; Entrapment; Mechanical | APPROXIMATELY 6' DEEP. -- | 2005-06-07 | YES
UWSP069 | Seattle | 1175 | MAGNUSON HEALTH SCIENCES CENTER RR | Floor drain wet well in HSB, RR-Wing in South mechanical room near heating pumps | Atmospheric: Oxygen deficiency; Engulfment: Water; Entrapment; Mold | APPROXIMATELY 8-10' DEEP. -- | 2005-06-07 | YES
UWSP070 | Seattle | 1168 | MAGNUSON HEALTH SCIENCES CENTER T | Condensate pumps in HSB, T-Wing, rooms T-050 and T-010 | Engulfment: Water; Mechanical: Pumps; Thermal: Hot pipes |  | 2005-06-14 | YES
UWSP071 | Seattle | 1168 | MAGNUSON HEALTH SCIENCES CENTER T | Floor drain wet wells in HSB, T-Wing, rooms T-050 and T-010 | Atmospheric: Stagnant water; Engulfment: Water; Entrapment; Mechanical: Pumps |  | 2005-06-14 | YES
UWSP073 | Seattle | 1143 | MCMAHON HALL | Transfomer and lighting vault, East of McMahon Hall and West of Gate 3 in bushes | Atmospheric: Oxygen deficiency; Electrical |  | 2005-06-22 | YES
UWSP074 | Seattle | 1295 | PARKING GARAGE S-1 | Cooling towers on roof of Parking Garage S-1 | Atmospheric: Oxygen deficiency; Electrical; Mechanical |  | 2007-01-19 | YES
UWSP075 | Seattle | 1295 | PARKING GARAGE S-1 | Water sump in S-1 chiller room | Atmospheric: Oxygen deficiency; Electrical |  | 2007-01-19 | YES
UWSP076 | Seattle | 3830 | PARKING LOT E-09 | Communications vault at intersection of Walla Walla Rd. and E-9 Parking Lot | Atmospheric : Oxygen deficiency; Electrical; Nearby vehicle/pedestrian traffic |  | 2005-06-13 | YES
UWSP077 | Seattle | 3830 | PARKING LOT E-09 | Electrical vault at intersection of Walla Walla Rd. and E-9 Parking Lot | Atmospheric : Oxygen deficiency; Electrical; Nearby vehicle/pedestrian traffic |  | 2005-06-13 | YES
UWSP078 | Seattle | 3830 | PARKING LOT E-09 | Electrical vault in E-9 Parking Lot near Tennis Courts | Atmospheric: Oxygen deficiency; Electrical |  | 2005-05-16 | YES
UWSP079 | Seattle | 3831 | PARKING LOT E-10 | Electrical vault in E-10 Parking Lot stall near South Plaza of Husky Stadium | Atmospheric: Oxygen deficiency; Electrical |  | 2005-06-13 | YES
UWSP080 | Seattle | 3832 | PARKING LOT E-11 | Water main vault in E-11 Parking Lot | Entrapment |  | 2005-05-16 | YES
UWSP081 | Seattle | 1242 | PHYSICS-ASTRONOMY BAR | Access pit in room B-059 | Electrical | Physics Department space. | 2005-06-28 | YES
UWSP082 | Seattle | N/A | N/A | VACANT
UWSP083 | Seattle | 1350 | POWER PLANT | ASHBAG, ASH BAGHOUSE, RECEIVER, VACUUM PUMP, FA-TOP | Atmospheric: Oxygen deficiency; Entrapment |  | 2005-02-25 | YES
UWSP084 | Seattle | 1350 | POWER PLANT | BOILERFIRE, BOILERS 3,4,5,6,7 FIREBOX | Atmospheric: Combustible gases |  | 2005-02-25 | YES
UWSP085 | Seattle | 1350 | POWER PLANT | BOILERSTM, BOILERS 3,4,5,6,7 STEAM/MUD DRUMS | Atmospheric: Oxygen deficiency from steam displacement; Engulfment: Water; Entrapment: Small access; Thermal: Steam |  | 2005-02-25 | YES
UWSP086 | Seattle | 1350 | POWER PLANT | BOILRBLWDN, BOILER BLOWDOWN TANK ROOM, AZ EAST | Atmospheric: Oxygen deficiency from steam displacement; Thermal: Steam |  | 2005-02-25 | YES
UWSP087 | Seattle | 1350 | POWER PLANT | BRNMIXTNK, BRINE MIXING TANK, BZ WEST, SIDEWALK OUTSIDE | Engulfment: Water; Chemical: Sodium chloride | CONCRETE TANK 10' DEEP. -- | 2005-02-25 | YES
UWSP088 | Seattle | 1350 | POWER PLANT | BRNMIXTNKD, BRINE MIXING TANK DEALKELIZER, AD NORTH | Chemical: Sodium hydroxide residue; Electrical; Mechanical: Mixer |  | 2005-02-25 | YES
UWSP089 | Seattle | 1350 | POWER PLANT | BRNMIXTNKP, BRINE MIXING TANK/POLISHER, AD NORTH | Atmospheric: Oxygen deficiency | NO MIXER PRESENT (NO MECHANICAL HAZARD). -- | 2005-02-25 | YES
UWSP090 | Seattle | 1350 | POWER PLANT | BRNMIXTNKS, BRINE MIXING TANK (STORAGE), AB NORTH | Electrical |  | 2005-02-25 | YES
UWSP091 | Seattle | 1350 | POWER PLANT | CHLLWTRTNK, CHILLED WATER SURGE TANK, DA | Atmospheric: Oxygen deficiency; Engulfment: Water |  | 2005-02-25 | YES
UWSP092 | Seattle | 1350 | POWER PLANT | DEALKALIZR, DEALKALIZER (WEST AND EAST), BASEMENT NORTH | Atmospheric: Oxygen deficiency; Engulfment: Water; Chemical: Caustic residue |  | 2005-02-25 | YES
UWSP093 | Seattle | 1350 | POWER PLANT | FDWTRHTER, FEEDWATER HEATER & DESUPERHEATER TANK | Atmospheric: Oxygen deficiency; Engulfment: Water; Thermal: Steam |  | 2005-02-25 | YES
UWSP094 | Seattle | 1350 | POWER PLANT | FDWTRHTR, FEEDWATER HEATER E/W WATERSTORAGE TANK, DA TANK AREA | Atmospheric: Oxygen deficiency; Engulfment: Water; Thermal: Steam; Chemical: Sodium sulfite |  | 2005-02-25 | YES
UWSP095 | Seattle | 1350 | POWER PLANT | FOSINTRSPC, FUELOIL STORAGE TANK INTERSTITIALSPACE, BZ WEST (OUTSIDE) | Atmospheric: Toxicity and combustible gas/vapor; Engulfment: Diesel; Fall | INTERSTITIAL SPACE MAY BE ENTERED -- WHEN TANK IS FULL. 35' DEEP. | 2005-02-25 | YES
UWSP096 | Seattle | 1350 | POWER PLANT | FOSTANKPIT, FUEL OIL STORAGE TANK PIT, BZ WEST (OUTSIDE) | Atmospheric: Toxicity and combustible gas/vapor; Engulfment: Diesel |  | 2005-02-25 | YES
UWSP097 | Seattle | 1350 | POWER PLANT | FOSTANKPMP, FUEL OIL STORAGE TANK PUMP ROOM, BZ WEST (OUTSIDE) | Atmospheric: Oxygen deficiency; Mechanical |  | 2005-02-25 | YES
UWSP098 | Seattle | 1350 | POWER PLANT | HOTWELL, HOTWELL (EAST & WEST), AF EAST & AC NORTH | Atmospheric: Oxygen deficiency from steam displacement; Engulfment: Water; Thermal: Steam and hot water | APPROXIMATELY 10' DEEP CONCRETE TANK. -- | 2005-02-25 | YES
UWSP099 | Seattle | 1350 | POWER PLANT | MIXTNKCHLL, MIXING TANK, CHILLED WATER TREATMENT, MACHINE SHOP | Mechanical: Propeller; Chemical: Sodium nitrite |  | 2005-02-25 | YES
UWSP100 | Seattle | 1350 | POWER PLANT | POLISHER, POLISHER (WEST, CENTER, AND EAST), BASEMENT NORTH | Atmospheric: Oxygen deficiency; Engulfment: Water; Thermal: Hot water |  | Unknown | YES
UWSP101 | Seattle | 1350 | POWER PLANT | VAULTELEC, ELECTRICAL VAULT, EAST SIDE OF POWER PLANT, N OF SNOHOMISH LANE | Atmospheric: Oxygen deficiency; Electrical | APPROXIMATELY 8' DEEP. -- | 2005-06-03 | YES
UWSP102 | Seattle | 1350 | POWER PLANT | WATERSOFTR, WATER SOFTNER (NORTH & SOUTH), UNDER SOUTH TOWER | Atmospheric: Oxygen deficiency; Engulfment: Water |  | 2005-02-25 | YES
UWSP103 | Seattle | 1188 | HUSKY STADIUM | Electrical hand hole at South Plaza, Husky Stadium | Electrical |  | Unknown | YES
UWSP104 | Seattle | 1188 | HUSKY STADIUM | Communications vault at South Plaza, Husky Stadium | Atmospheric: Oxygen deficiency; Electrical | APPROXIMATELY 4' DEEP. -- | 2005-06-13 | YES
UWSP105 | Seattle | 1188 | HUSKY STADIUM | Electrical vault North of North Plaza, Husky Stadium | Atmospheric: Oxygen deficiency; Electrical |  | 2005-06-13 | YES
UWSP106 | Seattle | 1188 | HUSKY STADIUM | Electrical vault near South Plaza, Husky Stadium | Atmospheric: Oxygen deficiency; Electrical | APPROXIMATELY 4' DEEP. -- | 2005-06-13 | YES
UWSP107 | Seattle | 1253 | UW MEDICAL CENTER, CC | Building sump in Incinerator Room | Atmospheric: Oxygen deficiency, Toxicity; Chemical |  | 2007-01-19 | YES
UWSP108 | Seattle | 1254 | UW MEDICAL CENTER, EA | Exhaust air plenum by cooling tower | Atmospheric: Oxygen deficiency; Mechanical; Electrical |  | 2007-01-19 | YES
UWSP109 | Seattle | 1254 | UW MEDICAL CENTER, EA | Hot water storage and expansion tanks in mechanical room EA-010 | Atmospheric: Oxygen deficiency; Thermal: Hot water |  | 2007-01-19 | YES
UWSP110 | Seattle | 1241 | UW MEDICAL CENTER, EE | Sump pump well in mechanical room EE-010 | Atmospheric: Oxygen deficiency; Electrical |  | 2007-01-19 | YES
UWSP111 | Seattle | 1257 | UW MEDICAL CENTER, NE | Condensate sump well in mechanical room NE-010 | Atmospheric: Oxygen deficiency; Thermal: Hot water; Electrical |  | 2007-01-19 | YES
UWSP112 | Seattle | 1258 | UW MEDICAL CENTER, NN | Condensate sump in mechanical room NN-010 | Atmospheric: Oxygen deficiency; Thermal: Hot water |  | 2007-01-19 | YES
UWSP113 | Seattle | 1258 | UW MEDICAL CENTER, NN | Building sump in mechanical room NN-010 | Atmospheric: Oxygen deficiency |  | 2007-01-19 | YES
UWSP114 | Seattle | 1259 | UW MEDICAL CENTER, NW | Building sump in mechanical room NW-010 | Atmospheric: Oxygen deficiency |  | 2007-01-19 | YES
UWSP115 | Seattle | 1259 | UW MEDICAL CENTER, NW | Cooling tower in mechanical room NW-137 | Atmospheric: Oxygen deficiency; Mechanical; Electrical |  | 2007-01-19 | YES
UWSP116 | Seattle | 1260 | UW MEDICAL CENTER, SE | Trash compactor on SE-119 loading dock | Atmospheric: Oxygen deficiency; Mechanical |  | 2007-01-19 | YES
UWSP117 | Seattle | 1260 | UW MEDICAL CENTER, SE | Two San-I-Pak autoclave chambers on SE-119 loading dock | Atmospheric: Oxygen deficiency; Mechanical; Biohazard; Thermal |  | 2007-01-19 | YES
UWSP118 | Seattle | 1260 | UW MEDICAL CENTER, SE | Cardboard bailer in SW-119 | Atmospheric: Oxygen deficiency; Mechanical |  | 2007-01-19 | YES
UWSP119 | Seattle | 1262 | UW MEDICAL CENTER, SW | Sump in mechanical room SW-014 | Atmospheric: Oxygen deficiency |  | 2007-01-19 | YES
UWSP120 | Seattle | 1262 | UW MEDICAL CENTER, SW | 5 hot water heating tanks in mechanical room SW-010 | Atmospheric: Oxygen deficiency; Electrical; Engulfment: Water; Thermal: Hot water |  | 2007-01-19 | YES
UWSP121 | Seattle |  | UW MEDICAL CENTER, SURGERY PAVILION PARKING | Building sumps in Surgery Pavilion Parking Garage, Level 3, Room SPP-301 | Atmospheric: Oxygen deficiency; Electrical |  | 2007-01-19 | YES
UWSP122 | Seattle | 4595 | UW TOWER BLDG C | The interiors of two electrial boilers in lower level of UW Tower, Building C | Atmospheric: Oxygen deficiency; Engulfment: Water; Electrical; Thermal: Hot water |  | Unknown | YES
UWSP123 | Seattle | 4596 | UW TOWER BLDG S | Waste water sump in lower level mechanical room of UW Tower, Building S | Atmospheric: Oxygen deficiency; Engulfment: Water; Mechanical: Pump |  | Unknown | YES
UWSP124 | Seattle | 4593 | UW TOWER BLDG T | Chiller #1 interior, Floor 23 mechanical room, UW Tower, Building T | Atmospheric: Refrigerant |  | Unknown | YES
UWSP125 | Seattle | 4593 | UW TOWER BLDG T | Supply fan, floor 23 mechanical room, UW Tower, Building T, two places to enter: above fan, adjacent to fan | Mechanical: Fan | Fan must be locked out. Fan and blades must be blocked. | Unknown | YES
UWSP126 | Seattle | 4593 | UW TOWER BLDG T | Water storage tank, floor 23 mechanical room, UW Tower, Building T | Atmospheric: Oxygen deficiency; Engulfment: Water |  | Unknown | YES
UWSP127 | Seattle | 4593 | UW TOWER BLDG T | Elevator #3 mechanical room on 23rd floor, UW Tower, Building T | Mechanical | Machinery must be locked out. | Unknown | YES
UWSP128 | Seattle | 4593 | UW TOWER BLDG T | Warm air fan #1, access into HVAC ductwork, UW Tower, Building T | Mechanical: Fan | Fan must be locked out. Fan and blades must be blocked. | Unknown | YES
UWSP129 | Seattle | 4593 | UW TOWER BLDG T | Access through hatch to groundwater relief system in lower level, UW Tower, Building T | Atmospheric: Oxygen deficiency; Fall |  | Unknown | YES
UWSP130 | Seattle | 4593 | UW TOWER BLDG T | Access to interstitial space between outside canopies at North and South Plazas, UW Tower, Building T | Fall: Canopy cannot support weight |  | Unknown | YES
UWSP131 | Seattle | 1120 | WATERFRONT ACTIVITIES CENTER | Valve house north of Canoe House | Atmospheric: Oxygen deficiency; Electrical |  | 2005-06-13 | YES
UWSP132 | Seattle | 1315 | WOMEN'S FASTPITCH SOFTBALL BUILDING | Electrical vault on East side of Women's Fastpitch Softball Building, near restrooms | Atmospheric: Oxygen deficiency; Electrical |  | 2005-06-13 | YES
UWSP133 | Seattle | 1279 | CHEMISTRY LIBRARY BUILDING | Transformer vault on East side of Chemistry Library | Atmospheric: Oxygen deficiency; Electrical; Fall |  | 2005-05-19 | YES
UWSP133 | Seattle | 1137 | INTRAMURAL ACTIVITIES SPORTS FIELD #1 WEST | Lift station south of soccer field on Clard Rd | Atmospheric: Sewer gas; Electrical: pumps; Fall: No ladder | 15 ft deep | 2014-02-12 | YES
UWSP134 | Seattle |  | MERCER COURT | Rainwater cistern adjacent to room 6317 in courtyard | Engulfment: rainwater |  | 2013-05-23 | YES
UWSP135 | Seattle | 1173 | MAGNUSON HEALTH SCIENCES K WING | Vault in sidewalk on north side of Columbia Rd by gate 6 | Atmospheric: oxygen deficiency, CO, CO2; Fall hazard | 8 feet deep | 2014-09-09 | YES
UWSP136 | Seattle | 1304 | MAGNUSON HEALTH SCIENCES B WING | Elevated pipe chases at extreme SW end of fan space in B-SB20; 2 pipe chases branch out from a central ante-room. Access to the pipe chases is via ladders up a 7 foot high sloped wall into a crawl sapce. | Fall hazard | 7 feet high | 2013-09-25 | yes
UWSP137 | Seattle | 3793 | DRUMHELLER FOUNTAIN DRAIN VAULT | Drain vault south of Drumheller Fountain collects water when fountain drained and cleaned; connected to sewage line | Atmospheric: Sewer gas; Electrical: pumps |  | 2014-03-14 | YES
UWSP138 | Seattle | 1188 | HUSKY STADIUM LIFT STATION | Lift station near SE Entrance next to Outdoor Practice Facility | Atmospheric: Sewer gas; Electrical: pumps; Fall: No ladder | 24 ft deep | 2014-02-11 | YES
UWSP139 | Seattle | 1350 | POWER PLANT | Diesel generator south fuel tank probe sump; jefferson rd | Electrical: wiring; Atmospheric: fuel |  | 2014-10-10 | YES
UWSP140 | Seattle | 1350 | POWER PLANT | Diesel generator south fuel tank fill sump; jefferson rd | Electrical: wiring; Atmospheric: fuel |  | 2014-10-10 | YES
UWSP141 | Seattle | 1350 | POWER PLANT | Diesel generator north fuel tank probe sump; jefferson rd | Electrical: wiring; Atmospheric: fuel |  | 2014-10-10 | YES
UWSP142 | Seattle | 1350 | POWER PLANT | Diesel generator north fuel tank fill sump; jefferson rd | Electrical: wiring; Atmospheric: fuel |  | 2014-10-10 | YES
UWSP143 | Seattle | 1357 | FISHERY SCIENCES | Plumbing, acid collection tank vault with manhole on north end of loading dock. | atmospheric: Acid collection tank; Inundation: water | 10' deep and about 9' x 11' internal. | 2016-06-15 | YES
UWFP001 | Friday Harbor | NA | SEWER LIFT STATION | Lift station controlled by city. Staff do not enter. Near waterfront. | Atmospheric: sewer gas. Engulfment: water. Energy: electric pumps. | Approx. 8 ft deep | 2016-10-18 | YES
UWFP002 | Friday Harbor | NA | HEAD TANK | Water tank. Requires entry to clean. | Atmospheric: potential lack of oxygen. Inundation: water. Fall hazard. | Approx. 8 ft high, 6 ft wide | 2016-10-18 | YES
UWFP003 | Friday Harbor | NA | POTABLE WATER TOWER | Water tank. Entry to repair float guage, general maintenance. | Atmospheric: potential lack of oxygen. Inundation: water. Fall hazard. | Approx. 30 ft high, 25 ft wide. | 2016-10-18 | YES

## UW Non-PRCS
Non Permit Required Confined Spaces
CS# | Campus | FACNUM | Building | Room Number , Description or Locating Details | Comments | Evaluation Source & Date | Permit Required
UWAC001 | All | Various | Various | Attics | If you must climb or crawl into an attic, it is a Confined Space, but not necessarily a Permit Required Confined Space. If there are other hazards present or brought into the space, it is a Permit Required Confined Space. | Unknown | NO
UWAC002 | All | Various | Various | Crawlspaces | If you must climb or crawl into a crawlspace, it is a Confined Space, but not necessarily a Permit Required Confined Space. If there are other hazards present or brought into the space, it is a Permit Required Confined Space. | 2005-06-21 | NO
UWAC003 | All | Various | Various | Pipe chases | If you must climb or crawl into a pipe chase, it is a Confined Space, but not necessarily a Permit Required Confined Space. If there are other hazards present or brought into the space, it is a Permit Required Confined Space. | 2005-06-21 | NO
UWSC004 | Seattle | 1131 | AERONAUTICS AND ENGINEERING RESEARCH BUILDING | Tip expansion tank in basement of Aeronautics and Engineering Research Building | Opening hatch creates vaccuum ventilation | 2005-05-26 | NO
UWSC031 | Seattle |  | ALDER HALL | Above the fresh fruit case |  | 2013-05-23 | NO
UWSC005 | Seattle | 1206 | BAGLEY HALL | Crawl space, accessed from -2 level mechanical room 036 | Introduced work could make this PRCS | 2005-05-19 | NO
UWSC006 | Seattle | 1008 | ELECTRICAL ENGINEERING BUILDING | Mechanical room access through hatch in Electrical Engineering Building, Room 025 | Must crawl in for access | Unknown | NO
UWSC007 | Seattle | 1198 | GUGGENHEIM HALL | Mechanical room in Guggenheim Hall, room 416 |  | 2005-06-21 | NO
UWSC008 | Seattle | 1198 | GUGGENHEIM HALL | Access door to utility tunnel near room 103 | Must crawl in for access | 2005-06-21 | NO
UWSC009 | Seattle | 1280 | GUTHRIE ANNEX 2 | Crawlspace under Guthrie Annex 2 | Must crawl in for access | 2013-05-10 | NO
UWSC010 | Seattle | 1319 | GUTHRIE ANNEX 4 | Crawlspace under Guthrie Annex 4 | Must crawl in for access | 2005-05-19 | NO
UWSC011 | Seattle | 1190 | JOHNSON ANNEX A | South end access to utility tunnel from mechanical room | Must stoop for access | 2005-05-19 | NO
UWSC012 | Seattle | 1190 | JOHNSON ANNEX A | Basement fan room | Must stoop for access | 2005-05-19 | NO
UWSC013 | Seattle | 1222 | MAGNUSON HEALTH SCIENCES CENTER AA | Halfspace at base of BB-Wing West stair at -2 level |  | 2005-04-12 | NO
UWSC014 | Seattle | 1300 | MAGNUSON HEALTH SCIENCES CENTER I | Access through hatch to fan IBX-990201 in HSB, I-Wing, room I-705 | Introduced work could make this PRCS | Unknown | NO
UWSC015 | Seattle | 1174 | MAGNUSON HEALTH SCIENCES CENTER J | East and West fumehood duct raceways in HSB, J-Wing, penthouse mechanical room |  | 2005-06-14 | NO
UWSC016 | Seattle | 1174 | MAGNUSON HEALTH SCIENCES CENTER J | Halfspace above supply fan FME 56613 in HSB, J-Wing, mechanical room J-003 |  | 2005-04-12 | NO
UWSC017 | Seattle | 1175 | MAGNUSON HEALTH SCIENCES CENTER RR | Halfspace in HSB, RR-Wing, mechanical room RR-001 | Introduced work could make this PRCS | 2005-04-12 | NO
UWSC018 | Seattle | 1196 | PAVILION POOL | Pool drain pit in Pavilion Pool mechanical room | Introduced work could make this PRCS | Unknown | NO
UWSC019 | Seattle | 1242 | PHYSICS-ASTRONOMY BAR | Pit in room B-025 | Physics Department space | 2005-06-30 | NO
UWSC020 | Seattle | 1242 | PHYSICS-ASTRONOMY BAR | Pit in room B-031 | Physics Department space | 2005-06-30 | NO
UWSC021 | Seattle | 1242 | PHYSICS-ASTRONOMY BAR | Pit in room B-065 | Physics Department space | 2005-06-30 | NO
UWSC022 | Seattle | 1242 | PHYSICS-ASTRONOMY BAR | Pit in room B-069, West | Physics Department space | 2005-06-30 | NO
UWSC023 | Seattle | 1242 | PHYSICS-ASTRONOMY BAR | Pit in room B-069, East | Physics Department space | 2005-06-30 | NO
UWSC024 | Seattle | 1242 | PHYSICS-ASTRONOMY BAR | Pit in room B-027 | Physics Department spaces | 2005-06-30 | NO
UWSC025 | Seattle | 1350 | POWER PLANT | Air receivers outside by towers |  | 2005-02-25 | NO
UWSC026 | Seattle | 1350 | POWER PLANT | COALBINS, FA TOP |  | 2005-02-25 | NO
UWSC027 | Seattle | 1253 | UW MEDICAL CENTER, CC | Incinerator in incinerator room | Introduced work could make this PRCS | 2007-01-19 | NO
UWSC028 | Seattle | 1254 | UW MEDICAL CENTER, EA | Hot water tanks in mechanical room EA-0010 | Introduced work could make this PRCS | 2007-01-19 | NO
UWSC029 | Seattle | 1254 | UW MEDICAL CENTER, EA | Medical vaccuum receiver in mechanical room EA-010 | Introduced work could make this PRCS | 2007-01-19 | NO
UWSC030 | Seattle | 1350 | UW TOWER BLDG T | Access hatch in West stairwell, UW Tower, Building T to M-4 mezzanine level chase | Introduced work could make this PRCS | Unknown | NO
UWSC031 | Seattle | 3793 | DRUMHELLER FOUNTAIN WATER INTAKE VAULT | Intake vault pumps water into Drumheller fountain. Southwest of Mary Gates Hall behind bushes. | Built-in cont. running fan | 2014-03-14 | NO
UWSC032 | Seattle |  | HAGGETT HALL N11 PARKING GARAGE PIPE CHASE | Pipe chase/crawl space above parking garage N11 | Introduced work could make this PRCS | 2014-04-11 | NO
UWSC033 | Seattle | 1125 | ODEGAARD UNDERGRADUATE LIBRARY | Mech room 2A crawl space | Low ceiling height; Introduced work could make this PRCS | 2014-11-24 | NO
UWSC035 | Seattle | 1138 | MARINE SCIENCES BUILDING | Crawlspace under dock, access via hatch, requires ladder | Ships docked or introduced work could make this PRCS; Exhaust and sewage from ships could create atmospheric hazard | 2016-05-12 | NO
UWSP036 | Seattle | 3920 | LIFT STATION AT SOUTH CAMPUS | Lift station (dry side), near South Campus Center North of San Juan Rd. | None since fan running continuously | 2014-02-12 | No
UWSC037 | Seattle | 1223 | MAGNUSON HEALTH SCIENCES CENTER BB | Half space at west end of hallway with small hatch door above short fixed ladder. Level -1. Adjacent to stair BB-2. | Space contains many obstructions, gas and steam pipes, electrical wiring. Limited ventilation, no illumination. Cement floor and walls. | 2016-08-05 | NO

## UW Non-CS
Other Spaces Evaluated _ Determine NOT to be a Confined Space
CS# | Campus | FACNUM | Building | Room Number , Description or Locating Details | Comments | Evaluation Source & Date | Permit Required
NOCS001 | Seattle | 3785 | ATHLETIC FIELDS AND COURTS | Electrical Vault in NW corner of field | Unable to open hatch | 2005-05-19 | Not applicable
NOCS002 | Seattle | 3785 | ATHLETIC FIELDS AND COURTS | Electrical vault at SW corner of Sport Field #2 | Cannot get completely inside | 2005-06-13 | Not applicable
NOCS003 | Seattle | 1206 | BAGLEY HALL | Area under and accessed from room 95 | Can walk in/out standing up without climbing or crawling | 2005-05-19 | Not applicable
NOCS004 | Seattle | 1139 | GOLF DRIVING RANGE | Electrical hand hole at SW corner of Golf Driving Range | Cannot get completely inside | 2005-06-13 | Not applicable
NOCS005 | Seattle | 3798 | HELISTOP PAD | Electrical vault, West of E-14 Parking Lot under Helipad | Cannot get completely inside | 2005-06-13 | Not applicable
NOCS006 | Seattle | 1188 | HUSKY STADIUM | Communications and street light vault near South Plaza, Husky Stadium | Cannot get completely inside | 2005-06-13 | Not applicable
NOCS007 | Seattle | 1197 | MARY GATES HALL | Basement mechanical room, access from stair 5 on ground floor | Can walk in/out standing up without climbing or crawling | 2005-06-21 | Not applicable
NOCS008 | Seattle | 1350 | POWER PLANT | FDWTRDEATR, FEEDWATER HEATER E/W DEAERATING TANK, DA TANK AREA | Cannot get completely inside; if internal equipment removed, becomes PRCS | 2005-02-25 | Not applicable
NOCS009 | Seattle | 1350 | POWER PLANT | Blow down tank in basement | Cannot get completely inside | 2005-02-25 | Not applicable
NOCS010 | Seattle | 1350 | POWER PLANT | High pressure feedwater heater in basement | Cannot get completely inside; if internal equipment removed, becomes PRCS | 2005-02-25 | Not applicable
NOCS011 | Seattle | 1350 | POWER PLANT | Instrument air receiver in basement | Cannot get completely inside | 2005-02-25 | Not applicable
NOCS012 | Seattle | 4056 | SOCCER FIELDS | Electrical vault near Husky Stadium track and Concession Stands | Cannot get completely inside | 2005-06-13 | Not applicable
NOCS013 | Seattle | 1262 | UW MEDICAL CENTER, SW | Decommissioned York chiller in mechanical room SW-014 | Cannot get completely inside | 2007-01-19 | Not applicable
NOCS014 | Seattle | 1254 | UW MEDICAL CENTER, EA | OR vaccuum system | Cannot get completely inside | 2007-01-19 | Not applicable
NOCS015 | Seattle | 1148 | PLANT SERVICES BUILDING | Boiler room 121A. Former PRCS# UWS-P-082. | Can walk in/out standing up without climbing or crawling. Used for EH&S CSE classes. | 2013-08-09 | Not applicable